## Slide 1
AI618
Generative Model and Unsupervised Learning
Spring 2024
Individual Project. Unsupervised CT Denoising with CycleGAN
TA Dohun Lee
Dept. of Kim Jaechul Graduate School of AI, KAIST

## Slide 2: Goal of the project
Individual Project: Unsupervised CT Denoising with CycleGAN
Understand the task of CT denoising
Understand CycleGAN
AAPM dataset
Implement CycleGAN
Report

## Slide 3: 1. CT Denoising
Noisy input
Clean image
Neural network
Denoising: recover clean image from the noisy input image
Y = X + N
X

## Slide 4: 1. CT Denoising
Reduce the radiation dose  high level noise, low image contrast
CT denoising: remove the noise in low dose CT images
Supervised learning: low&high dose paired data  increase the radiation dose
Low dose
High dose
Neural network

## Slide 5: 2. CycleGAN
Unpaired image-to-image translation using cycle-consistent adversarial networks
Two generators (𝐺, 𝐹): translate an image from one set into the other
Two discriminators (𝐷𝑋,): distinguish real image and generated fake images
𝐺: horse to zebra / 𝐹: zebra to horse
𝐷𝑋: real or fake horse / 𝐷𝑌: real or fake zebra
[1] Zhu, et al. “Unpaired image-to-image translation using cycle-consistent adversarial networks" CVPR, 2017.
[1]

## Slide 6: 2. CycleGAN
CT denoising with CycleGAN: low dose ↔ high dose, does not require paired data
You have to implement CycleGAN for CT denoising
[1] Kang, et al. “Cycle-consistent adversarial denoising network for multiphase coronary CT angiography" Medical physics, 2019.
[1]

## Slide 7: 3. AAPM dataset
AAPM: American Association of Physicists in medicine
AAPM 2016 Low Dose CT Grand Challenge
The CT image has an HU range from -1024 to +3071 and consists of 512x512 = 262,144 pixels in one channel.
Air: ~ -1000HU
𝜇−𝜇𝑤𝑎𝑡𝑒𝑟
𝜇𝑤𝑎𝑡𝑒𝑟−𝜇𝑎𝑖𝑟
0.0192
𝐻𝑈 = × 1000 = 𝜇−0.0192 × 1000
Fat: -50HU ~ -100HU
Bone: +200HU ~ +3000HU
Water: ~0HU
linear attenuation coefficient (𝜇)

## Slide 8: 3. AAPM dataset
AAPM dataset (Google Drive link)
https://drive.google.com/drive/folders/1Fj-TVxLXqeULdbDhH5Hu5TEhRbJyY8rr?usp=sharing
AAPM 2016 Low Dose CT Grand Challenge
Training set: 3839 full dose / quarter dose data (paired)
Test set: 421 full dose / quarter dose data (paired)
Make a shortcut in your Google Drive
(1)
(2)
AAPM train full_dose
test
quarter_dose
full_dose
quarter_dose
1.npy ~ 3839.npy
1.npy ~ 3839.npy
1.npy ~ 421.npy
1.npy ~ 421.npy
AAPM

## Slide 9: 4. Implement CycleGAN – Dataloader
Default: linear attenuation coefficient (𝜇)
 change to Hounsfield unit (HU)
𝜇−𝜇𝑤𝑎𝑡𝑒𝑟
𝜇𝑤𝑎𝑡𝑒𝑟−𝜇𝑎𝑖𝑟
0.0192
- 𝐻𝑈 = × 1000 = 𝜇−0.0192 × 1000

## Slide 10: 4. Implement CycleGAN – Dataloader
Clip the value lower than -1000 HU
Normalize the data

## Slide 11: 4. Implement CycleGAN – Dataloader
Original image size: 512x512  too large
Make a small patch for training by random crop
Random crop

## Slide 12: 4. Implement CycleGAN – Generator
Residual learning: faster & more stable convergence, improved performance
You are free to choose the structure of the generator (U-Net, ResNet, etc), but it should contain residual path.
Residual path

## Slide 13: 4. Implement CycleGAN – Discriminator
PatchGAN: classifies inputs at patch scale
You have to build PatchGAN structure as the figure (C >= 32).

## Slide 14: 4. Implement CycleGAN – Losses
Adversarial loss (𝐿𝑎𝑑𝑣,𝐹 , 𝐿𝑎𝑑𝑣,𝑄)
  𝐷: distinguishes real/fake images
  𝐺: tries to generate fake images that fool 𝐷
  Use least squares GAN (LSGAN) loss

## Slide 15: 4. Implement CycleGAN – Losses
Adversarial loss (𝐿𝑎𝑑𝑣,𝐹 , 𝐿𝑎𝑑𝑣,𝑄)
- For discriminators
𝐿𝑎𝑑𝑣,𝐹 = 𝔼𝑥
𝐹
𝐷𝐹 𝑥𝐹 − 1
2
+ 𝔼𝑥
𝑄
𝐷𝐹
𝐺𝑄2𝐹
𝑥𝑄
2
𝐿𝑎𝑑𝑣,𝑄 = 𝔼𝑥𝑄
𝐷𝑄 𝑥𝑄 − 1
2
+ 𝔼𝑥𝐹
𝐷𝑄
𝐺𝐹2𝑄
𝑥𝐹
2

## Slide 16: 4. Implement CycleGAN – Losses
Adversarial loss (𝐿𝑎𝑑𝑣,𝐹 , 𝐿𝑎𝑑𝑣,𝑄)
- For generators
𝐿𝑎𝑑𝑣,𝐹 = 𝔼𝑥𝑄
𝐷𝐹
𝐺𝑄2𝐹
𝑥𝑄 − 1
2
𝐿𝑎𝑑𝑣,𝑄 = 𝔼𝑥𝐹
𝐷𝑄
𝐺𝐹2𝑄
𝑥𝐹 − 1
2

## Slide 17: 4. Implement CycleGAN – Losses
Cycle consistency loss (𝐿𝑐𝑦𝑐𝑙𝑒,𝐹 , 𝐿𝑐𝑦𝑐𝑙𝑒,𝑄)
- Two generators (𝐺𝐹2𝑄, 𝐺𝑄2𝐹) should be inverses of each other
𝐿𝑐𝑦𝑐𝑙𝑒,𝐹 = 𝔼𝑥𝐹 𝐺𝑄2𝐹 𝐺𝐹2𝑄
𝑥𝐹 − 𝑥𝐹
1
𝐿𝑐𝑦𝑐𝑙𝑒,𝑄 = 𝔼𝑥𝑄
𝐺𝐹2𝑄
𝐺𝑄2𝐹
𝑥𝑄
− 𝑥𝑄
1

## Slide 18: 4. Implement CycleGAN – Losses
Identity loss (𝐿𝑖𝑑𝑒𝑛,𝐹 , 𝐿𝑖𝑑𝑒𝑛,𝑄)
- Prevent the target domain image from being distorted more than necessary (fixed point constraint)
1
𝐿𝑖𝑑𝑒𝑛,𝐹 = 𝔼𝑥𝐹 𝐺𝑄2𝐹
𝐿𝑖𝑑𝑒𝑛,𝑄 = 𝔼𝑥𝑄 𝐺𝐹2𝑄
𝑥𝐹 − 𝑥𝐹
𝑥𝑄 − 𝑥𝑄
1

## Slide 19: 4. Implement CycleGAN – Training
𝐿𝐺 =
𝐿𝑎𝑑𝑣,𝐹 + 𝐿𝑎𝑑𝑣,𝑄 + 𝜆𝑐𝑦𝑐𝑙𝑒 𝐿𝑐𝑦𝑐𝑙𝑒,𝐹 + 𝐿𝑐𝑦𝑐𝑙𝑒,𝑄 + 𝜆𝑖𝑑𝑒𝑛𝑡𝑖𝑡𝑦 𝐿𝑖𝑑𝑒𝑛𝑡𝑖𝑡𝑦,𝐹 + 𝐿𝑖𝑑𝑒𝑛𝑡𝑖𝑡𝑦,𝑄
= 𝐿𝑎𝑑𝑣 + 𝜆𝑐𝑦𝑐𝑙𝑒𝐿𝑐𝑦𝑐𝑙𝑒 + 𝜆𝑖𝑑𝑒𝑛𝑡𝑖𝑡𝑦𝐿𝑖𝑑𝑒𝑛𝑡𝑖𝑡𝑦
where 𝜆𝑐𝑦𝑐𝑙𝑒, 𝜆𝑖𝑑𝑒𝑛𝑡𝑖𝑡𝑦 are weights for cycle consistency loss, identity loss
𝐷𝐹
𝐿 = 𝐿𝑎𝑑𝑣,𝐹 / 𝐿
𝐷𝑄
𝐿𝑎𝑑𝑣,𝑄
=
2 2
You have to optimize generators and discriminators alternately

## Slide 20: 4. Implement CycleGAN – Training
You have to complete the code
  Set ‘requires_grad’ of discriminators (use ‘set_requires_grad’ function)
  Outputs of the networks
  Loss functions of generators
  Loss functions of discriminators

## Slide 21: 5. Report
Students will:
  Train cycleGAN for CT denoising
  Train supervised learning with L1 loss for CT denoising:
𝐿𝑠𝑢𝑝𝑒𝑟𝑣𝑖𝑠𝑒𝑑 = 𝔼𝑥𝑄 𝐺𝑄2𝐹
𝑥𝑄 − 𝑥𝐹
1
where 𝑥𝐹, 𝑥𝑄 are full dose CT image and corresponding quarter dose CT image
Students will submit:
  Executable code (with proper comments), so that TAs are able to reproduce the results
    Training code for cycleGAN and supervised learning
    Evaluation code + pre-trained model weights
  Report about the results and methods

## Slide 22: 5. Report
Your report should include:
  Brief explanation of the implementation (code)
  Loss graph
    Check if the networks converged stably.
    If network reaches the optimal equilibrium state, the adversarial losses should be reached at 0.25
  Qualitative evaluation
    Comparison between output of cycleGAN, input, and ground truth
    Comparison between output of cycleGAN and supervised learning
  Quantitative evaluation
    Peak signal to noise ratio (PSNR)
    Structural similarity index (SSIM)
    Average value of all test data (input, output of cycleGAN/supervised learning w.r.t ground truth)

## Slide 23
Thank you
If you have any questions, contact me an email(leedh7@kaist.ac.kr)